SECTION 108213

ROOF SCREENS

Display hidden notes to specifier in Word 2003 by using "Tools"/"Options"/"View"/"Hidden Text".

Display hidden notes to specifier in Word 2007 or later by clicking on the Show/Hide icon (¶)

This section is based on the products of RoofScreen Mfg., Inc., which is located at:

347 Coral St.

Santa Cruz, CA  95060

Toll Free Tel: 866-766-3727

Tel: 831-421-9230

Fax: 866-253-0738

Email: info@roofscreen.com

Web: www.roofscreen.com

RoofScreen Mfg. Inc. designs, manufactures and distributes rooftop equipment screens, watertight roof attachment hardware, acoustical panel systems and architectural aluminum louvers.

This specification is for our roof screen system, including support framing, watertight roof attachments and face panels. For information and specifications for our other products, please see www.roofscreen.com.

108213 - ROOF SCREENS: Copyright 2022, All Rights Reserved. 220103

- GENERAL

  - SECTION INCLUDES

** NOTE TO SPECIFIER ** Delete items below not required for project.

    - Stand-alone roof equipment screens and supporting steel framework.  Screens shall be designed to attach to the roof structure and not the equipment being screened.

    - Roof screen accessories.

  - RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete any sections below not relevant to this project; add others as required.

    - Section 033000 - Cast-In-Place Concrete: Execution requirements for embedded anchors and attachments for metal fabrications specified by this section in concrete.

    - Section 042000 - Masonry Anchorage and Reinforcement: Installation of anchors.

    - Section 051200 - Structural Steel:  Metal Framing.

    - Section 053113 - Steel Floor Deck.

    - Section 055000 - Metal Fabrications:  Frames and supports.

    - Section 077213 - Roof Curbs.

    - Section 099100 - Paints and Coatings: Field applied paint finish.

    - Division 23 - Roof Top HVAC Equipment.

  - REFERENCES

** NOTE TO SPECIFIER ** Delete references from the list below that are not actually required by the text of the edited section.

    - ASTM A 500 - Standard Specification for Cold-Formed Welded and Seamless Carbon Steel Structural Tubing in Rounds and Shapes.

    - ASTM A 653/A 653M - Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.

    - ASTM A 666 - Standard Specification for Annealed or Cold-Worked Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar.

    - ASTM A 787 - Standard Specification for Electric-Resistance-Welded Metallic-Coated Carbon Steel Mechanical Tubing

    - ASTM A 1008 - Standard Specification for Steel, Sheet, Cold-Rolled, Carbon, Structural, High-Strength Low-Alloy, High-Strength Low-Alloy with Improved Formability, Solution Hardened, and Bake Hardenable.

    - ASTM A 1057 - Standard Specification for Steel, Structural Tubing, Cold Formed, Welded, Carbon, Zinc-Coated (Galvanized) by the Hot-Dip Process.

    - ASTM B 749 - Standard Specification for Lead and. Lead Alloy Strip, Sheet, and Plate Products.

    - ASTM D 4811 - Standard Specification for Nonvulcanized (Uncured) Rubber Sheet Used as Roof Flashing.

    - ASTM D 6878 - Standard Specification for Thermoplastic Polyolefin Based Sheet Roofing.

    - ASCE 7 - Minimum Design Loads for Buildings and Other Structures.

    - AWS A2.4 - Standard Symbols for Welding, Brazing, and Nondestructive Examination.

    - AWS D1.1 - Structural Welding Code - Steel.

    - AWS D1.6 - Structural Welding Code - Stainless Steel.

  - COORDINATION

    - Coordinate Work with other operations and installation of roofing materials to avoid damage to installed insulation and membrane materials.

  - ACTION SUBMITTALS

    - Submit under provisions of Section 013300.

    - Product Data:  Manufacturer's data sheets on each product to be used, including:

      - Preparation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Installation methods.

    - Shop Drawings: Layout and erection drawings showing typical cross sections and dimensioned locations of all frames and base supports. Include erection drawings, elevations, and details where applicable. Indicate welded connections using standard AWS A2.4 welding symbols. Indicate net weld lengths.

** NOTE TO SPECIFIER ** Delete selection samples if colors have already been selected.

    - Selection Samples:  For each finish product specified, two complete sets of color chips representing manufacturer's full range of available colors and patterns.

    - Verification Samples:  For each finish product specified, two samples, minimum size 6 inches (150 mm) square, representing actual product, shape, and patterns.

  - INFORMATIONAL SUBMITTALS

** NOTE TO SPECIFIER **Insert the state name where the project is located.  If project is located in a state that requires a structural engineer, change “professional” to “structural.”

    - Design Calculations: 3 copies of structural design calculations for structural components and components resisting wind loads with seal and signature of professional engineer licensed in the State of [insert state name].

    - Manufacturer's Certificates: Certify products meet or exceed specified requirements.

    - Welders Certificates: Certify welders employed on the Work, verifying AWS qualification within previous 12 months.

    - Warranties:  3 signed copies.

  - QUALITY ASSURANCE

    - Manufacturer Qualifications: Manufacturer with a minimum five years documented experience in producing pre-manufactured metal-framed equipment screens.

** NOTE TO SPECIFIER ** If project is located in a state that requires a structural engineer, change “professional” to “structural.”

    - Design Qualifications: Provide structural design calculations stamped by a professional engineer licensed in the state in which this project is located.

    - Welders: AWS certified within previous 12 months.

    - Pre-Installation Meeting:

      - Convene at job site, at least seven calendar days prior to scheduled beginning of construction activities of this section, to review requirements of this section.

      - Require attendance by representatives of the installing subcontractor (who will represent the system manufacturer), the mechanical subcontractors and other entities affected by construction activities of this section.

      - Notify Architect four calendar days in advance of scheduled meeting date.

** NOTE TO SPECIFIER ** Include a mock-up if the project size and/or quality warrant taking such a precaution.  The following is one example of how a mock-up on a large project might be specified.  When deciding on the extent of the mock-up, consider all the major different types of work on the project.

    - Mock-Up:  Provide a mock-up for evaluation of surface preparation techniques and application workmanship.

      - Locate in area designated by Architect.

      - Construct mock-up, one full screen section wide, including two roof supports.

      - Do not proceed with remaining work until workmanship, color, and location is approved by Architect.

      - Remove mock-up if required by Architect.

      - Accepted mock-up may remain in place.

  - DELIVERY, STORAGE, AND HANDLING

    - Deliver materials to the project site clearly marked for proper identification.

    - Receive, handle and store materials in conformance with the manufacturers printed instructions.

    - Store products under cover, in manufacturer's unopened packaging until ready for installation.

    - Protect materials from exposure to moisture.

    - Store materials in a dry, warm, ventilated weathertight location.

    - Protect metal fabrications from damage by exposure to weather.

    - Handling: Use a forklift or crane to move material.  Do not lift the bundles by the metal bands.

      - Fork Lift:  Spread the forks as far as possible to balance the load. Drive slowly when moving long bundles over uneven surfaces to avoid tipping the load

      - Crane:  Position the canvas sling straps so that the space between the straps is at least 1/3 the length of the bundle. Use sling straps with looped ends running one end of the strap through the loop at the other end to cinch the bundle when lifted. When setting the load on the roof, put wood blocks under it to protect the roof and allow space to remove the sling straps.

      - Roof Placement: Spread the bundles and crates out as much as possible to avoid overloading the roof structure. Place the material directly over major supports such as beams or trusses.

      - Position bundles of tubing parallel to the slope of the roof and block prior to opening to prevent the tubing from rolling down the roof slope when unbundled.

  - PROJECT CONDITIONS

    - Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install products under environmental conditions outside manufacturer's absolute limits.

    - Field Measurements:  Verify roof screen dimensions and conditions of the installation by field measurements before fabrication and indicate measurements on Shop Drawings.  Coordinate fabrication schedule with construction progress to avoid delaying the Work.

      - Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating equipment enclosure without field measurements.  Coordinate construction to ensure that actual dimensions correspond to established dimensions.

  - WARRANTY

    - Framing System:  Provide manufacturer's standard written limited warranty stating that the complete framing system shall be warranted against structural failure due to cracking, buckling, bending, tearing or corrosion arising under normal use and environmental conditions for the coverage period applicable.

      - Products installed on projects located 2 miles or greater from salt or brackish bodies of water shall be warranted for twenty (20) years

      - Products installed on projects located greater than 1 mile but less than 2 miles from salt or brackish bodies of water will be warranted for five (5) years, except for aluminum, stainless steel or copper Products which will be warranted for twenty (20) years.

      - Products installed on projects located 1 mile or less from salt or brackish bodies of water will be warranted for three (3) years, except for aluminum, stainless steel or copper Products which will be warranted for twenty (20) years

    - Panel Finish:

      - Provide written warranty stating that the paint finish applied on all equipment enclosure panels will be warranted against chipping, peeling, cracking, fading, or blistering for the coverage period of up to twenty (20) years, see panel manufacturer warranty for coverage details.

      - Provide warranty signed by the panel manufacturer and paint finish applicator (if separate from manufacturer).

    - Louvers:  Refer to Section 089100, Louvers

    - Decorative Metal Panels: Refer to Section 074210, Metal Wall Panels

    - The above warranties are in addition to, and not a limitation of, other rights the Owner may have under the Contract Documents.

- PRODUCTS

  - PERFORMANCE REQUIREMENTS

    - Design Loads: Comply with Building Code for site location and building height.

      - Design to resist ASCE 7 - Minimum Design Loads for Buildings and Other Structures, using the latest published ASCE version.

      - Design all materials, assembly and attachments to resist snow, wind, suction and uplift loading at any point without damage or permanent set.

    - Structural Design: Prepare structural design calculations for screen framing and attachment to structure including reactions at base supports for verification of roof structure by Architect.

    - All welds to be performed by an AWS certified welder. Valid certification to be provided.

  - MANUFACTURERS

    - Acceptable Manufacturer: RoofScreen Mfg., which is located at: 347 Coral St.; Santa Cruz, CA 95060; Toll Free Tel: 866-766-3727; Tel: 831-421-9230; Fax: 866-253-0738; Email: request info (info@roofscreen.com); Web: www.roofscreen.com.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs; coordinate with requirements of Division 01 section on product options and substitutions.

    - Substitutions:  Not permitted.

** NOTE TO SPECIFIER ** Select one of the two sections referenced in paragraph below.

    - Requests for substitutions will be considered in accordance with provisions of Section [012500, Substitutions Procedures][016000, Product Requirements and Substitutions].

  - MATERIALS

** NOTE TO SPECIFIER ** Delete the following 3 paragraphs if using round post supports or square post supports with the following frame types: SC3R, NC2R, LT .

    - Square Base Supports: Weldments fabricated from cold rolled steel conforming to ASTM A 1008, fabricated with pre-punched holes in base plate for fastening to roof structure.  After fabrication, apply minimum 2 to 4 mil baked on powder coat primer.

** NOTE TO SPECIFIER ** Select one of the following height paragraphs as required to suit insulation thickness. Delete the paragraphs not required.

      - Height 8 inches (203 mm).

      - Height 10 inches (254 mm).

      - Height 12 inches (305 mm).

      - Height 14 inches (356 mm).

    - Square Base Support Extensions: Fabricated from same material and finish as base supports.

      - Height 8 inches (203 mm).

** NOTE TO SPECIFIER ** Include the following base cap with the square base supports.

    - Square Base Cap: Weldments fabricated from AISI Type 304 stainless steel with mill finish, and fabricated to overlap base support and flashing boot a minimum of 2 inches (51 mm). Provide moment resisting adjustable connection to attach framing to base cap.

** NOTE TO SPECIFIER ** Delete the following 4 paragraphs if using square base supports with the following frame types:SC3, SC5, NC3, NC5.

    - Round Post Supports: 12 inch (305 mm) tall weldments fabricated from galvanized steel tube conforming to ASTM A 500 and cold rolled steel plate conforming to ASTM A36, fabricated with pre-punched holes in base plate for fastening to roof structure.  After fabrication, apply minimum 2 to 4 mil shop primer to base plate and weld. Provide height adjustment with galvanized tube sleeve conforming to ASTM A 500, sized to telescope over outside of round post tube and fastened at desired height with self-drilling, self-tapping screws.

** NOTE TO SPECIFIER ** Include the following round post cap with the round post supports.

    - Round Post Cap: Weldments fabricated from AISI Type 304 stainless steel with mill finish fabricated to slip over 2-1/2" sleeve tube allowing adjustable height when used with Round Post Support.

    - Square Post Support: [insert height needed] (Max insulation thickness plus 12 inches) (305 mm) tall weldments fabricated from galvanized steel tube conforming to ASTM A 500 and cold rolled steel plate conforming to ASTM A36, fabricated with pre-punched holes in base plate for fastening to roof structure.  After fabrication, apply minimum 2 to 4 mil shop primer to base plate and weld.

** NOTE TO SPECIFIER ** Include the following square post cap with the square post supports.

    - Square Post Cap: Saddle - AISI Type 304 Stainless Steel, 11ga. Connective tube- AISI Type 304 Stainless Steel, 11 ga. Fabricated to overlap base support and flashing boot a minimum of 2 inches (51 mm).

    - Square Galvanized Roof Flashing: Fabricated from galvanized sheet steel, 24 gauge, conforming to ASTM A 653/A 653M.  Provide with [galvanized sheet steel, 24 gauge (ASTM A 653/A 653M)] [lead, 4 psf (ASTM B 749)] base flange that extends a minimum of 4 inches (102 mm) onto the roof surface on all four sides.  Riser shall be tapered to allow easy fit over Square Base Supports with minimal gap at top of flashing.  Solder all seams for water tightness.

    - Square TPO Roof Flashing: Fabricated from 60 mil, white, single ply TPO sheet conforming to ASTM D 6878.  Provide with base flange that extends a minimum of 5 inches (127 mm) onto the roof surface on all four sides.  Riser shall be tapered to allow easy fit over Square Base Supports with minimal gap at top of flashing. Hot weld all seams for water tightness.

    - Square PVC Roof Flashing: Fabricated from 60 mil, white, single ply PVC sheet conforming to ASTM D 4434.  Provide with base flange that extends a minimum of 5 inches (127 mm) onto the roof surface on all four sides.  Riser shall be tapered to allow easy fit over Square Base Supports with minimal gap at top of flashing.  Hot weld all seams for water tightness.

    - Round Lead Roof Flashing: Fabricated from sheet lead, 4 psf, conforming to ASTM B 749.  Provide with base flange that extends a minimum of 5 inches (127 mm) onto the roof surface on all four sides.  Solder all seams for water tightness.

    - Round TPO Roof Flashing: Fabricated from 60 mil, white, single ply TPO sheet conforming to ASTM D 6878.  Provide with base flange that extends a minimum of 5 inches (127 mm) onto the roof surface on all four sides.  Hot weld all seams for water tightness.

    - Round PVC Roof Flashing: Fabricated from 60 mil, white, single ply PVC sheet conforming to ASTM D 4434.  Provide with base flange that extends a minimum of 5 inches (127 mm) onto the roof surface on all four sides.  Hot weld all seams for water tightness.

** NOTE TO SPECIFIER ** Use the following paragraph if flashing boots will be part of the roof membrane assembly specified in Division 07.

    - Roof Flashing: Refer to Division 07 section that specifies the roof membrane.

    - Base Cap Gasket: EPDM with self-adhesive closed cell foam.

    - Framing: Carbon or galvanized steel structural tubing in manufacturer’s standard sizes, conforming to ASTM A 500 and/or ASTM A787 with manufacturer’s standard galvanized coating conforming to ASTM A 1057. Provide with wall thickness as determined by structural calculations.

    - Connector Fittings: Fabricated from AISI Type 304 stainless steel with mill finish.

** NOTE TO SPECIFIER ** Select one of the two following paragraphs for the horizontal girts. Hat Channel is the standard choice. Choose Z Section only on the recommendation of RoofScreen Mfg.

    - Steel Girts: Steel tube conforming to ASTM A 500 and/or A 787, with a G90 hot-dip galvanized coating.

    - Steel Hat Channel: Steel sheet conforming to ASTM A 653, Class SS, with a G90 hot-dip galvanized coating per ASTM A 1057.

    - Hardware: Bolts, nuts and washers: 18-8 stainless steel.

    - Self-Drilling Screws: Carbon steel with factory applied protective coating conforming to ASTM B 117 salt spray testing.

    - Welding Materials: AWS D1.1; type required for materials being welded.

** NOTE TO SPECIFIER ** Edit the following two Panel paragraphs as required for the project. Delete the paragraphs not required. Select the first paragraph for standard panel profile or edit the second paragraph for custom panel as required. Framing system is compatible with most manufacturer’s panels. Framing may also be covered with stucco, EIFS and plywood with shingles. Contact the manufacturer for additional information.

    - Panel:

      - Profile:

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete those not required.

        - 7.2 Rib Panel.

        - 3 inch Deep Rib Panel.

        - Flush Panel.

        - R Panel.

        - U Panel.

        - 7/8 inch (22 mm) Corrugated.

        - Flush Textured Panel.

      - Base Metal:

** NOTE TO SPECIFIER ** Select one of the following two paragraphs and delete the one not required.

        - Minimum 26 gauge Galvalume steel sheet, AZ50, conforming to ASTM A 792 for painted and unpainted panels.

        - Minimum 24 gauge Galvalume steel sheet, AZ50, conforming to ASTM A 792 for painted and unpainted panels.

      - Finish:

** NOTE TO SPECIFIER ** Select one of the following two paragraphs and delete the one not required.

        - PVDF fluoropolymer, 1 mil, 2 coat, 70 percent.

        - Siliconized polyester thermoset coating, 0.90 mil minimum dry film thickness.

        - Color as selected by Architect from manufacturer's standard color range, 20 colors minimum.

        - Coat reverse side with off-white primer coat.

      - Panel Fasteners: No. 14 self-tapping sheet metal screw. Color coat heads to match panel color.

      - Panel Trim: Same material and finish as panel. Configuration as shown on Drawings

    - Panel: Panel No. ________ as manufactured by ____________________.

      - Base Metal: ____________________.

      - Finish: ______________________.

      - Panel Fasteners: ______________________.

      - Panel Trim: ______________________.

** NOTE TO SPECIFIER ** Include the following paragraph if louvers are included in project.  Coordinate section number and section title with louver section being used.

    - Louvers:  Refer to Section 089100, Louvers.

  - FABRICATION

    - Fit and shop assemble items in largest practical sections, for delivery to site.

    - Fabricate items with joints tightly fitted and secured.

    - Grind exposed joints flush and smooth with adjacent finish surface. Make exposed joints butt tight, flush, and hairline. Ease exposed edges to small uniform radius.

    - Supply components required for anchorage of fabrications. Fabricate anchors and related components of same material and finish as fabrication, except where specifically noted otherwise.

    - Fabricate system components so that portions of screen can be dismantled for repairs to equipment being screened and for future roof replacement.

    - Trim and Closures:  Fabricated from 24 gauge metal and finished with the manufacturer’s standard coating system.

- EXECUTION

  - EXAMINATION

    - Examine area where work will be installed to verify the installation can be performed in accordance with the Drawings and structural calculation requirements without interference from other equipment or trades.

    - If preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

    - Do not begin installation until conditions have been properly prepared.

  - PREPARATION

    - Clean surfaces thoroughly prior to installation.

    - Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

  - INSTALLATION

    - Install in accordance with manufacturer's instructions.

    - Install components plumb and level, accurately fitted, free from distortion or defects.

    - Provide for erection loads, and for sufficient temporary bracing to maintain indicated alignment until completion of erection and installation of permanent attachments.

    - Anchor fabrications to structure as indicated.

    - Separate dissimilar metals and use gasketed fasteners, isolation shim, or isolation tape to eliminate possibility of corrosive or electrolytic action between metals.

    - Exercise care when installing components so as not to damage finish surfaces. Touch up as required to repair damaged finishes.

    - Install flashing boots at base supports as required to provide a watertight connection. Install as recommended by the roof membrane manufacturer.

    - Remove all protective masking from material immediately after installation.

  - CLEANING AND PROTECTION

    - Remove all protective masking from framing and trim material immediately after installation.  Remove temporary protective coverings and strippable films, if any, as metal wall panels are installed, unless otherwise indicated in manufacturer’s written installation instructions.  Maintain in a clean condition during construction.

    - Protect installed products until completion of project.

      - Ensure that finishes and structure of installed systems are not damaged by subsequent construction activities.

      - If minor damage to finishes occurs, repair damage in accordance with manufacturer’s recommendations; provide replacement components if repaired finishes are unacceptable to Architect.

    - Prior to Substantial Completion:  Remove dust or other foreign matter from component surfaces; clean finishes in accordance with manufacturer’s instructions.

    - Replace metal wall panels and framing members that have been damaged or have deteriorated beyond successful repair by finish touchup or similar minor repair procedures.

END OF SECTION