SECTION 134800

ACOUSTICAL PANELS

Display hidden notes to specifier in Word 2003 by using "Tools"/"Options"/"View"/"Hidden Text".

Display hidden notes to specifier in Word 2007 or later by clicking on the Show/Hide icon (¶)

This section is based on the products of RoofScreen Mfg., Inc., which is located at:

1500 Green Hills Rd. Suite 202

Scotts Valley, CA 95066

Tel: 831-421-9230

Fax: 831-421-9304

Email: info@roofscreen.com

Web: www.roofscreen.com

RoofScreen Mfg. Inc. designs, manufactures and distributes rooftop equipment screens, watertight roof attachment hardware, acoustical panel systems and architectural aluminum louvers.

This specification is for our SoundGuard® Acoustical Panel System, including face panel, rails and tracks, sound absorptive filler, and back panel. For information and specifications for our other products, please see www.roofscreen.com.

134800 – ACOUSTICAL PANELS: Copyright 2016, All Rights Reserved. 181220

- GENERAL

  - SECTION INCLUDES

    - Acoustical panels as shown on the Drawings and specified herein.

  - RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete any sections below not relevant to this project; add others as required.

    - Section 051200 - Structural Steel:  Metal Framing.

    - Section 055000 - Metal Fabrications:  Frames and supports.

  - REFERENCES

** NOTE TO SPECIFIER ** Delete references from the list below that are not actually required by the text of the edited section.

    - ASTM A 792 - Standard Specification for Steel Sheet, 55 % Aluminum-Zinc Alloy-Coated by the Hot-Dip Process.

    - ASTM A 240 - Standard Specification for Chromium and Chromium-Nickel Stainless Steel Plate, Sheet, and Strip.

    - ASTM A 653 - Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process

    - ASTM C 423 - Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method.

    - ASTM E 90 - Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions.

    - ASTM E 136 - Standard Test Method for Behavior of Materials in a Vertical Tube Furnace at 750°C.

    - ASTM E 2235 - Standard Test Method for Determination of Decay Rates for Use in Sound Insulation Test Methods.

  - COORDINATION

    - Coordinate Work with other operations and installation of support framing to avoid damage to installed materials.

  - ACTION SUBMITTALS

    - Submit under provisions of Section 013300.

    - Product Data:  Manufacturer's data sheets on each product to be used, including:

      - Preparation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Installation methods.

    - Shop Drawings: Layout and erection drawings showing typical cross sections and dimensioned locations of all panel assemblies, trims, sub girts and support frames. Include erection drawings, elevations, and details where applicable.

** NOTE TO SPECIFIER ** Delete “Selection Samples” if colors have already been selected.

    - Selection Samples:  For each finish product specified, two complete sets of color chips representing manufacturer's full range of available colors and patterns.

    - Verification Samples:  For each finish product specified, two samples, minimum size 6 inches (150 mm) square, representing actual product, color, and patterns.

  - INFORMATIONAL SUBMITTALS

    - Manufacturer's Certificates: Certify products meet or exceed specified requirements.

    - Acoustical Test Reports: 3 copies of acoustical test reports.

    - Warranties:  3 signed copies.

  - QUALITY ASSURANCE

    - Manufacturer Qualifications: Manufacturer with a minimum two years documented experience in producing acoustical panels.

    - Provide acoustical panels by a firm having undivided responsibility for the entire panel system design, fabrication and installation, except as otherwise specified herein.

    - Provide acoustical panels in strict accordance with state and local building codes and ordinances and conforming to applicable wind load factors relative to framing and anchorage.

    - Acoustical Performance:  Provide acoustical panels tested by a qualified testing agency for the following acoustical properties according to test methods indicated:

      - Sound Transmission Requirements:  Acoustical panel assembly tested in a full-scale opening, 14 feet by 9 feet (4.27 m by 2.74 m).

E.	Pre-Installation Meeting:

1.	Convene at job site, at least seven calendar days prior to scheduled beginning of   construction activities of this section, to review requirements of this section.

2. 	Require attendance by representatives of the installing subcontractor (who will represent the system manufacturer) and other entities affected by construction activities of this section.

3.	Notify Architect four calendar days in advance of scheduled meeting date.

F.	Source Limitations for Acoustical Panels:  Obtain acoustical panels from one source with resources to provide products of consistent quality in appearance and physical properties.

G.	Comply with all laws, ordinances, rules and regulations and orders of any public authority having jurisdiction over this part of the work.

** NOTE TO SPECIFIER ** Include a mock-up if the project size and/or quality warrant taking such a precaution.  The following is one example of how a mock-up on a large project might be specified.  When deciding on the extent of the mock-up, consider all the major different types of work on the project.

H.	Mock-Up: Provide a mock-up for evaluation of surface preparation techniques and application workmanship.

1.	Locate in area designated by Architect.

2.	Construct mock-up of one complete panel assembly at full height, and minimum 4 ft width, or otherwise specified by architect. Mock-up shall be supported on each end by support members matching those being used in the system design.

3.	Do not proceed with remaining work until workmanship, color, and location is approved by Architect.

4.	Remove mock-up if required by Architect.

5.	Accepted mock-up may remain in place.

  - DELIVERY, STORAGE AND HANDLING

    - Deliver panel components to the project site clearly marked for proper identification.

    - Receive, handle and store materials in conformance with the manufacturers printed instructions.

    - Store products under cover, in manufacturer's unopened packaging until ready for installation.

    - Protect materials from exposure to moisture.

    - Store materials in a dry, warm, ventilated weathertight location.

    - Protect metal fabrications from damage by exposure to weather.

    - Handling: Use a forklift or crane to move material.  Do not lift the bundles by the metal bands.

      - Fork Lift:  Spread the forks as far as possible to balance the load. Drive slowly when moving long bundles over uneven surfaces to avoid tipping the load

      - Crane:  Position the canvas sling straps so that the space between the straps is at least 1/3 the length of the bundle. Use sling straps with looped ends running one end of the strap through the loop at the other end to cinch the bundle when lifted. When setting the load on the roof, put wood blocks under it to protect the roof and allow space to remove the sling straps.

  - PROJECT CONDITIONS

    - Field Measurements: Verify substrate dimensions by field measurements before fabrication and indicate measurements on Shop Drawings.  Coordinate fabrication schedule with construction progress to avoid delaying the Work.

      - Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating acoustical panel system without field measurements.  Coordinate construction to ensure that actual dimensions correspond to established dimensions.

  - WARRANTY

    - Acoustical Panel System:  Provide manufacturer's written warranty stating that the panel system is to be free of faults and defects, except the warranty period is to be for twenty (20) years from the date of final acceptance by owner.

    - Panel Finish:

      - Provide written warranty stating that the paint finish applied on all acoustical panel systems will be free from chipping, peeling, cracking, fading, or blistering, except the warranty period is to be for twenty (20) years.

      - Provide warranty signed by the panel manufacturer and paint finish applicator (if separate from manufacturer).

    - The above warranties are in addition to, and not a limitation of, other rights the Owner may have under the Contract Documents.

- PRODUCTS

  - PERFORMANCE REQUIREMENTS

    - Design Loads: Comply with Building Code for site location and building height.

      - Design to resist ASCE 7 - Minimum Design Loads for Buildings and Other Structures, using the latest published ASCE version.

      - Design all materials, assembly and attachments to resist snow, wind, suction and uplift loading at any point without damage or permanent set.

    - Thermal Movement:  Normal thermal movement is defined as that resulting from a 120 degrees F maximum change (range) in ambient temperature.  Base design calculations on actual surface temperatures of metals due to both solar heat gain and night time sky heat loss.

    - Anchors and Connections:

      - Anchors, connections and assemblies connecting the acoustical panels and associated fabrications to the supporting construction are shown on the Drawings as suggested locations for the acoustical panel manufacturer/installer's information.  The acoustical panel manufacturer/installer is responsible for the structural design and placement of the connections and anchors, including all connecting hardware, accessories and reinforcing necessary for fabrication, and installation of the acoustical panels and associated fabrications.

      - The acoustical panel manufacturer is to notify the Architect in writing prior to the submittal of shop drawings of any changes in the proposed locations of connections and anchors.

      - The Architect's review of shop drawings is not to be construed as removing responsibility from the acoustical panel manufacturer/installer for structural failures related to design, fabrication, installation, and fabrication services.

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete those not required.

    - Assembly Options:

      - SG35

        - Laboratory sound transmission class (STC) rating of 35 according to ASTM E 90, determined by ASTM E 413.

        - Noise reduction coefficient (NRC) of 1.10 according to ASTM C 423.

        - Decay rates for use in sound insulation test methods according to ASTM E 2235.

      - SG38

        - Laboratory sound transmission class (STC) rating of 38 according to ASTM E 90, determined by ASTM E 413.

        - Noise reduction coefficient (NRC) of 1.10 according to ASTM C 423.

        - Decay rates for use in sound insulation test methods according to ASTM E 2235.

      - SG40

        - Laboratory sound transmission class (STC) rating of 40 according to ASTM E 90, determined by ASTM E 413.

        - Noise reduction coefficient (NRC) of 1.10 according to ASTM C 423.

        - Decay rates for use in sound insulation test methods according to ASTM E 2235.

      - SG42

        - Laboratory sound transmission class (STC) rating of 42 according to ASTM E 90, determined by ASTM E 413.

        - Noise reduction coefficient (NRC) of 1.10 according to ASTM C 423.

        - Decay rates for use in sound insulation test methods according to ASTM E 2235.

      - SG48

        - Laboratory sound transmission class (STC) rating of 48 according to ASTM E 90, determined by ASTM E 413.

        - Noise reduction coefficient (NRC) of 1.10 according to ASTM C 423.

        - Decay rates for use in sound insulation test methods according to ASTM E 2235.

  - MANUFACTURERS

    - Acceptable Manufacturer: RoofScreen Mfg., which is located at: 1500 Green Hills Rd, Suite 202 Scotts Valley, CA 95066; Tel: 831-421-9230; Fax: 866-253-0738; Email: request info (info@roofscreen.com); Web: www.roofscreen.com.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs; coordinate with requirements of Division 01 section on product options and substitutions.

    - Substitutions:  Not permitted.

** NOTE TO SPECIFIER ** Select one of the two sections referenced in paragraph below.

    - Requests for substitutions will be considered in accordance with provisions of Section [012500, Substitutions Procedures][016000, Product Requirements and Substitutions].

  - MATERIALS

** NOTE TO SPECIFIER ** Edit the following two paragraphs as required for the face panels of the project. Delete the paragraphs not required. Select the first paragraph for standard panel profile or edit the second paragraph for custom panel as required. Framing system is compatible with most manufacturer’s panels. Contact the manufacturer for additional information.

    - Face Panel:

      - Profile:

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete those not required.

        - 7.2 Rib Panel.

        - 3 inch Deep Rib Panel.

        - Flush Panel.

        - R Panel.

        - U Panel.

        - 7/8 inch (22 mm) Corrugated.

        - Flush Textured Panel.

      - Base Metal:

** NOTE TO SPECIFIER ** Select one of the following two paragraphs and delete the one not required.

        - Minimum 26 gauge Galvalume steel sheet, AZ50, conforming to ASTM A 792 for painted and unpainted panels.

        - Minimum 24 gauge Galvalume steel sheet, AZ50, conforming to ASTM A 792 for painted and unpainted panels.

      - Finish:

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete the ones not required.

        - PVDF fluoropolymer, 1 mil, 2 coat, 70 percent.

        - Siliconized polyester thermoset coating, 0.90 mil minimum dry film thickness.

        - Color as selected by Architect from manufacturer's standard color range, 20 colors minimum.

        - Coat reverse side with off-white primer coat.

      - Panel Fasteners: No. 12 self-tapping sheet metal screw. Color coat heads to match panel color.

      - Panel Trim: Same material and finish as panel. Configuration as shown on Drawings

    - Face Panel: Panel No. ________ as manufactured by ____________________.

      - Base Metal: ____________________.

      - Finish: ______________________.

      - Panel Fasteners: ______________________.

      - Panel Trim: ______________________.

    - Rails and Tracks: 16 gauge galvanized steel.

    - Acoustical Insulation: Mineral-wool fiber conforming to ASTM E 136.

      - Density: 6 pcf.

      - Absorption: Less than 1 percent water.

      - Flame Spread:  15 or less.

      - Smoke Developed:  0 or less.

- ** NOTE TO SPECIFIER ** Select one of the following two paragraphs and delete the one not required. Stainless steel recommended for corrosive environments.

E.     Back Panel:

        - 24 gauge perforated sheet, Galvalume steel, AZ50, conforming to ASTM A 792.

        - 24 gauge perforated sheet, 304 stainless steel, conforming to ASTM A 240.

    - Intermediate Leaf:

        - 16 gauge galvanized sheet conforming to ASTM A 653.

  - FABRICATION

    - Fabricate components in largest practical sections possible for delivery and field assembly.

    - Supply components required for anchorage of panels. Fabricate anchors and related components of same material and finish as panels, except where specifically noted otherwise.

    - Trim and Closures:  Fabricated and finished with materials and colors matching the face panels being used on the project.

- EXECUTION

  - INSPECTION

    - Examine all conditions of construction and surface to receive parts of the work specified herein and shown on the Drawings.  Verify all dimensions of in-place and subsequent construction.  Installation of materials constitutes acceptance of the conditions and related construction.

  - INSTALLATION

    - Install acoustical panels in accordance with manufacturer’s printed instructions.

    - Set all items in their correct locations as shown on the final reviewed shop drawings, level, square, plumb and at proper elevations and in alignment with other work.

    - Exercise care when installing components so as not to damage finish surfaces. Touch up as required to repair damaged finishes.

  - CLEANING AND PROTECTION

    - Upon completion of the work remove all unused materials, debris, containers and equipment from the project site.  Clean and repair finished surfaces that have been marked or otherwise damaged by work under this Section.

    - Protect acoustical panels during construction period so that they will be without any indication of deterioration or damage at the time of acceptance by Owner.

    - Remove and replace any acoustical panels damaged or stained at no additional cost to the Owner.

END OF SECTION